CSU East Bay

General Department Safety Checklist

| Inspection Performed by: |  | Phone: |  | Area Supervisor: |  |
| --- | --- | --- | --- | --- | --- |
|  | (Print Full Name) |  |  |  | (Print Full Name) |
| Department: |  | Building: |  | Room(s) Inspected: |  | Date: |  |

This checklist is not a substitute for, or a legal interpretation of, the Occupational Safety and Health Standards (Cal/OSHA).  It is meant to be a guide to identify a potential hazard in your work area and to have the hazard corrected.  If you have questions or would like assistance with the inspection, contact the Department of Environmental Health & Safety (X5-4139).

For items that do not apply, write NA in the OK column.

Action

OK    needed

1. 	Are exits routes clear and accessible?

2. 	Is stored material secured or limited in height to prevent tipping, falling, or collapsing?

3. 	Are aisles, passageways, and corridors kept clear?

4. 	Have equipment or other items placed in hallways been approved by the Fire Marshal?

5. 	Extension cords are not worn, frayed, abraded, or corroded?

6.	Cords, cables, and wires are not a tripping hazard?

7.  	   Is there a portable fire extinguisher within at least 75’ feet of travel and easily accessible?

The fire extinguisher is inspected monthly? (Only trained employees are allowed to operate a portable fire extinguisher.)

8. 	Fire rated doors are not blocked open by wedges or other material?

9. 	Is your work area free of excessive debris and obstructions?

10.	Is lighting adequate to perform regular job tasks and egress safely?

11.		Have you received health and safety training at time of hire, when transferred to a new assignment having a new hazard or exposure, or whenever a new hazard or exposure is introduced into the workplace?

12.	Are labels on hazardous substance containers legible, dated, and identified as to its hazards and content?

13.	Is there a Material Safety Data Sheet (MSDS) readily available for each hazardous substance used?	For MSDS access go to: http://hq.msdsonline.com/csuedusl/Search/Default.aspx

14.	Are flammable, combustible or toxic chemicals kept in closed containers when not in use?

15.	Are you aware to report any obvious hazard to life and property to your supervisor, Department Chair, or EHS as soon as reasonable or correct the problem yourself?

16.  	Are emergency telephone numbers posted where they can be readily found in case of an emergency?	See EHS #001 document

17.	Do you know where and how to report an incidence of “Violence in the Workplace?”

18.     Other hazards?

For each item above that needs action, indicate below (or on an attached page) the exact location of the problem.

Maintain the completed form for follow-up and forward a copy to the Department of Environmental Health and Safety